
 Smart Lighting 

Lab Module 0: The Smart Lighting Lab Kit 

See:

1. Course web site: http://hulk.bu.edu/courses/SmartLight/
2. The Mobile Studio Project: http://www.mobilestudioproject.com/
[image: image1.jpg]



Figure 1: Kit Contents

Lab Kit contents:

· 2 Rhett Boards

· 2 USB to micro-USB cables

· 2 Breadboards

· 2 Wiring kits

· Resistors, capacitors

· Red, white, green LEDs

· Photodiode

· Op Amps

· XOR gate

· Lens

· Flashlight

· Tape measure

· Protractor

· Speaker

· Transceiver printed circuit board (PCB)

· Board Components

· 2 USB to serial (FTDI) cables

[image: image2.jpg]



Figure 2: The Rhett Board

Pinout of the Rhett Board 

Bank 1

-V: 

-4V DC (capable of providing ~ 50mA)

+V: 

+4V DC (capable of providing ~ 50mA)

Impedance Analyzer + (not yet released)
Impedance Analyzer -  (not yet released)
GND: 
analog ground

Speaker -: 
Audio Out 

Speaker +: 
Audio Out

GND: 

analog ground

Phones R : 
Audio Out Right Channel

Phones L : 
Audio Out Left Channel

GND : 

analog ground

AWG2 : 
Arbitrary Waveform Generator Channel 2 (Same as FG 2)

GND : 

analog ground

AWG1 : 
Arbitrary Waveform Generator Channel 1 (Same as FG 1)

A2-  : 

Analog Channel 2 Input (- side of differential front end)

GND : 

analog ground

A2+ : 

Analog Channel 2 Input (+ side of differential front end)

A1-  : 

Analog Channel 1 Input (- side of differential front end)

GND : 

analog ground

A1+ : 

Analog Channel 1 Input (+ side of differential front end)

 

Bank 2:

Digital I/O 1 - 16 : Digital Input/Output 

PWM1 : 
Pulse Width Modulation Channel 1 

PWM2 : 
Pulse Width Modulation Channel 2

3.3V :  

+3.3v DC (used for the digital portion of the board)

DGND : 
digital ground

The Rest of the Kit
[image: image3.jpg][
0w
e
0=

w0 |
% ™
5 -
. |=
wes | w
6 |=
TG
- w05

aw |
wwor | @
we W
weiy | 8

G rsr s I saEsaRAes

ssssE sEeww

*
»





Figure 3: Breadboard

[image: image4.jpg]



Figure 4: Jumper Wires
[image: image5.jpg]



Figure 5: LED (left) and Photodiode (right)

[image: image6.jpg]



Figure 6: Resistor, Capacitors, and Op Amp

PAGE  
0-1

